## Sheet1
SADC ASSOCIATION OF WATER TESTING LABORATORIES (SADC WATER LAB)
NEEDS ASSESSMENT SURVEY (Nov 2005)
1.1 | Name of the Organisation: | Department of Geological survey
1.2 | Physical and Postal address: | Plot 1734,Khama Avenue, Lobatse Botswana. P/Bag 14 Lobatse. Botswana
1.3 | Tel & Fax & E-mail: | Tel: 5336 792/5330 627 Fax: 5332 013/5334 295 e-mail:mlaetsang@gov.bw
1.4 | Contact person: | Ms Masego Laetsang
1.5 | Test catergory Water and Geochemical (soil) analysis |  | Specific test/properties measured pH, EC, CO3 + HCO3,F,Cl,Br, SO4, PO4,N03,NO2,SiO2,K,Na, Ca, Mg,TDS,Al, B, Fe, Mn,Cu, Zn, Co,Ba,Ag, As,Be,Cd,Cr,Ni,Pb,Se,V,Mo, In, U, Li, Sr,Bi
Water: Borehole, surface, waste water and potable.
Food / Agriculture
Environment (air quality, soils): WASTE WATER ANALYSIS.
Medical
Others (specify)
2 | Existing Equipment type: pH/EC meter,Optima 300XL and Optima 4300 DV Inuctively Coupled Plasma Optical emmission Spectrometer, ELAN 6100 ICP-MS, LCQ Advantage LC-MS, Polaris Q GC-MS, X-Ray Fluorescence (X-RF), DX 100 and DX 120 Ion Chromatograph (IC), SpectrAA-200 AAS, AAnalyst 300 AAS.
3 | Equipment Requirements: At the moment do not need any equipment.
4 | Laboratory Environment (Temperature/Humidity control): The laboratory is air conditioned.
5 | Work Procedures/Quality System/Accreditation of lab? The DGS Chemistry Laboratory is in the process of implementating ISO 17025. A Quality Manager will soon be appointed to spearhead this challenging project. The Quality manual,work procedures,policies and work instructions are to be documented. We need a lot of training on the Iunderstanding ISO 17025 standard, Documentation and Auditing and BOBS is willing to help us.
6 | Please name national body responsible for these functions and describe what links your laboratory has with each:
Industrial Metrology
Legal Metrology
Calibration: For the calibration our lab is doing bad in the sense that we only calibrate the analytical balances and calibration is done by a Southern African company called Carl Zeiss. We do have any local company who can do the calibration at the moment. BOBS is not yet ready.
Laboratory Accreditaion: Botswana Bureau of Standards (BOBS), We are working hand in hand with BOBS and we participate in the National Quality Control Sampme Exchange Scheme coordinated by BOBS.
Documental / written standards: BOBS document the standards eg. Standards for drinking Water, waste water and we have a reprentative in the Technical Committee which document the standards.
Quality system certification
Reference materials
7 | What national/regional/international PT schemes/inter comparisons have you and are you participating in ? National Quality Control Sample Exchange Scheme coordinated by BOBS, SADCMET PT coordinated by Umgeni waters. We are tempted to go international and we are not yet sure which international PT scheme we will join.
8 | Technical training received to date: Measurement of uncertainty.
9 | Technical training needs/ requirements: Training or attachment to a laboratory with ICP-MS, GC-MS, LC-MS, XRF and to a laboratory which is accredited. Training on the implementation of ISO 17025 standard.
10 | What are the five (5) major concerns for your laboratory in order of priority and why?
1. Our laboratory to get accredited because we would like to be internationally recognised as far as quality results are concerned. Since we charge for the analytical services we provide our customers should be assured that the results we produce is of international standard and that they can rely on the them to make sound decisions of their business. We also feel that Accreditation can make us to be competitive.
2. We are not fully utilizing our equipments due to lack of expertise. For example we can not analyse for traces in our X-RF,
Dr M.T. Musarurwa [18 Nov 2005]
SADCMET Regional Coordinator
c/o CSIR National Metrology Laboratory
P O Box 395, Pretoria, 0001
South Africa
Tel: 27 12 841-3898
Fax: 21 12 841-2131
email: mmusarurwa@csir.co.za