## Sheet1
SADC ASSOCIATION OF WATER TESTING LABORATORIES (SADC WATER LAB)
NEEDS ASSESSMENT SURVEY (Nov 2005)
1.1 | Name of the Organisation: | MALAWI BUREAU OF STANDARDS
P.O. BOX 946, MOIRS ROAD, BLANTYRE
1.2 | Physical and Postal address: | TEL 01 670488, FAX 01 670756, E-mail rodgers@mbs.malawi.net
1.3 | Tel & Fax & E-mail: | PHONE: 01670488, FAX :01670756,
E-mail: rodgers@mbs.malawi.net
1.4 | Contact person: | MISS PATRICIA NAYEJA
1.5 | Test catergory |  | Specific test/properties measured
Water PORTABLE WATER, WASTE WATER FOR DETERMINATION OF "ANIONS AND CATIONS".
Food / Agriculture FOOD AND FEEDS, TOBACCO, FERTILISERS, MILK AND MILK PRODUCTS
Environment (air quality, soils) AIR QUALITY AND SOILS
Medical PHARMACEUTICALS
Others (specify) PESTICIDE FORMULATION AND RESIDUE RADIOCHEMISTRY FOR DETERMINATION OF RADIOACTIVE
CONTAMINATION
2 | Existing Equipment type: GAS CHROMATOGRAPHY, ATOMIC ABSORPTION SPECTROPHOTOMETER, FIBRE TECH,
pH METER
3 | Equipment Requirements UV/VISIBLE SPECTROPHOTOMETER, HIGH PERFORMANCE LIQUID CHROMATOGRAPHY
PROTEIN /NITROGEN ANALYSERS, BOMB CALIRIMETER
4 | Laboratory Environment (Temperature/Humidity control)
5 | Work Procedures/Quality System/Accreditation of lab? WORK PROCEDURES AVAILABLE MALAWI STANDARDS,
AOAC METHODS, BRITISH AND EUROPEAN PHARMACOPIA, ISO STANDARDS; QUALITY SYSTEMS IS TO BE IMPLEMENTED
6 | Please name national body responsible for these functions and describe what links your laboratory has with each:
Industrial Metrology MBS INDUSTRIAL METROLOGY WORKS CLOSELY WITH LABORATORY
Legal Metrology MBS INDUSTRIAL METROLOGY WORKS CLOSELY WITH LABORATORY
Calibration METROLOGY DEPARTMENT
Laboratory Accreditaion THE LABORATORIES ARE PREPARING TO BE CREDITED
Documental / written standards MALAWI BUREAU OF STANDARDS
Quality system certification MAALAWI BUREAU OF STANDARDS
Reference materials REFERENCE MATERIAL AVAILABLE AND WHERE REFERENCE MATERIALS ARE NOT AVAILABLE
SPIKING METHOD IS USED
7 | What national/regional/international PT schemes/inter comparisons have you and are you participating in ?
SADCMET WATER PT AND OPCW (UNSUCCESSFUL DUE TO EQUIPMENT)
8 | Technical training received to date LABORATORY MANAGEMENT, MAINTENANCE AND REPAIR OF EQUIPMENT
9 | Technical training needs/ requirements STATISTICAL EVALUATION OF ANALYTICAL DATA, LABORATORY
INSTRUMENTATION - OPERATION OF EQUIPMENT COMPUTERISED
10 | What are the five (5) major concerns for your laboratory in order of priority and why?
EQUIPMENT (UV) VISIBLE SPECTROPHOTOMETER, AAS, BOMB CALORIMETER HPLC
TRAINING
PERSONNEL
LABORATORY SPACE
IMPLEMENTATION OF QUALITY MANAGEMENT SYSTEM
Dr M.T. Musarurwa [18 Nov 2005]
SADCMET Regional Coordinator
c/o CSIR National Metrology Laboratory
P O Box 395, Pretoria, 0001
South Africa
Tel: 27 12 841-3898
Fax: 21 12 841-2131
email: mmusarurwa@csir.co.za