## Sheet1
SADC ASSOCIATION OF WATER TESTING LABORATORIES (SADC WATER LAB)
NEEDS ASSESSMENT SURVEY (Nov 2005)
1.1 | Name of the Organisation: | NATIONAL LABORATORY FOR FOOD AND WATER SAFETY
1.2 | Physical and Postal address: | Eduardo Mondlane Avenue 1008
1.3 | Tel & Fax & E-mail: | 258 21 325178; 258 21 307419
1.4 | Contact person: | Carlos Sono
1.5 | Test catergory- Director |  | Specific test/properties measured
Water- Heavy metals, pesticides, fluoride and sulphates
Food / Agriculture
Environment (air quality, soils)- sediments
Medical
Others (specify)- Water quality and biota, Vibrio Cholerae testing
2 | Existing Equipment type:UV Spectrophotometer, Flame Photometer, pHmeter, conductivity, Incubator, colorimeter,
analytical balance, oven, muffle furnance
3 | Equipment Requirements- AAS, IEC, Nephelometer (Turbidimeter), Potentiometric (Ion Selective Measurement) Fluoride electrode
4 | Laboratory Environment (Temperature/Humidity control)
NORMAL TEMPERATURE ABOUT 22 0C, HUMIDITY NOT CONTROLED
5 | Work Procedures/Quality System/Accreditation of lab? STANDARD METHODS FOR THE EXAMINATION OF WATER AND WASTE WATER
6 | Please name national body responsible for these functions and describe what links your laboratory has with each:
Industrial Metrology
Legal Metrology
Calibration- INTERNAL PROCEDURE
Laboratory Accreditaion- NOT YET
Documental / written standards, MOZAMBICAN WATER GUIDELINES,CODEX ALIMENTARIUS AND WHO GUIDELINES
Quality system certification- NONE
Reference materials-IEAE
7 | What national/regional/international PT schemes/inter comparisons have you and are you participating in ?
Regional
8 | Technical training received to date
MICROBIOLOGICAL WATER QUALITY CONTROL, ESTABLISHMENT OF QUALITY ASSURANCE, ISO 17025/ICE, ISO 9000
9 | Technical training needs/ requirements
CAPACITY BUILDING IN WORKING PROCEDURES (ANALYTICAL), QUALITY ASSURANCE AND LABORATORY QUALITY MANAGEMENT
10 | What are the five (5) major concerns for your laboratory in order of priority and why?
Dr M.T. Musarurwa [18 Nov 2005]
SADCMET Regional Coordinator
c/o CSIR National Metrology Laboratory
P O Box 395, Pretoria, 0001
South Africa
Tel: 27 12 841-3898
Fax: 21 12 841-2131
email: mmusarurwa@csir.co.za